## collections
Collection ID 1
FCS_CMP1_EM01_V_L1_L2
FCS_CMP1_EM01_V_L2_L3
FCS_CMP1_EM01_V_L3_L1
FCS_CMP1_EM01_V_L_L
FCS_CMP1_EM01_V_L1_N
FCS_CMP1_EM01_V_L2_N
FCS_CMP1_EM01_V_L3_N
FCS_CMP1_EM01_V_L_N
FCS_CMP1_EM01_F
FCS_CMP1_EM01_CURR_L1
FCS_CMP1_EM01_CURR_L2
FCS_CMP1_EM01_CURR_L3
FCS_CMP1_EM01_CURR_N
FCS_CMP1_EM01_CURR_Avg
FCS_CMP1_EM01_P1_KW
FCS_CMP1_EM01_P2_KW
FCS_CMP1_EM01_P3_KW
FCS_CMP1_EM01_TOTAL_KW
FCS_CMP1_EM01__KVAR_A
FCS_CMP1_EM01__KVAR_B
FCS_CMP1_EM01__KVAR_C
FCS_CMP1_EM01_TOTAL_KVAR
FCS_CMP1_EM01_KVA_A
FCS_CMP1_EM01_KVA_B
FCS_CMP1_EM01_KVA_C
FCS_CMP1_EM01_TOTAL_KVA
FCS_CMP1_EM01_PF_A
FCS_CMP1_EM01_PF_B
FCS_CMP1_EM01_PF_C
FCS_CMP1_EM01_TOTAL_PF
FCS_CMP1_EM01_THD_I1
FCS_CMP1_EM01_THD_I2
FCS_CMP1_EM01_THD_I3
FCS_CMP1_EM01_THD_IG
FCS_CMP1_EM01_THD_IN
FCS_CMP1_EM01_THD_V1
FCS_CMP1_EM01_THD_VAN
FCS_CMP1_EM01_THD_V2
FCS_CMP1_EM01_THD_VBN
FCS_CMP1_EM01_THD_V3
FCS_CMP1_EM01_THD_VCN
FCS_CMP1_EM01_THD_VLL
FCS_CMP1_EM01_THD_VLN
FCS_CMP1_EM01_EXP_KWH
FCS_CMP1_EM01_IMP_KWH
FCS_CMP1_EM01_EXP_KVARH
FCS_CMP1_EM01_IMP_KVARH
FCS_CMP1_EM01_EXP_KVAH
FCS_CMP1_EM01_IMP_KVAH
FCS_CMP1_EM01_VARH_DelpRec
FCS_CMP1_EM01_VARH_DelmRec
FCS_CMP1_EM01_VAH_DelpRec
FCS_CMP1_EM01_Wh_DelpRec
FCS_CMP1_EM01_Wh_DelmRec
FCS_CMP2_EM02_V_L1_L2
FCS_CMP2_EM02_V_L2_L3
FCS_CMP2_EM02_V_L3_L1
FCS_CMP2_EM02_V_L_L
FCS_CMP2_EM02_V_L1_N
FCS_CMP2_EM02_V_L2_N
FCS_CMP2_EM02_V_L3_N
FCS_CMP2_EM02_V_L_N
FCS_CMP2_EM02_F
FCS_CMP2_EM02_CURR_L1
FCS_CMP2_EM02_CURR_L2
FCS_CMP2_EM02_CURR_L3
FCS_CMP2_EM02_CURR_N
FCS_CMP2_EM02_CURR_Avg
FCS_CMP2_EM02_P1_KW
FCS_CMP2_EM02_P2_KW
FCS_CMP2_EM02_P3_KW
FCS_CMP2_EM02_TOTAL_KW
FCS_CMP2_EM02_KVAR_A
FCS_CMP2_EM02_KVAR_B
FCS_CMP2_EM02_KVAR_C
FCS_CMP2_EM02_TOTAL_KVAR
FCS_CMP2_EM02_KVA_A
FCS_CMP2_EM02_KVA_B
FCS_CMP2_EM02_KVA_C
FCS_CMP2_EM02_TOTAL_KVA
FCS_CMP2_EM02_PF_A
FCS_CMP2_EM02_PF_B
FCS_CMP2_EM02_PF_C
FCS_CMP2_EM02_TOTAL_PF
FCS_CMP2_EM02_THD_I1
FCS_CMP2_EM02_THD_I2
FCS_CMP2_EM02_THD_I3
FCS_CMP2_EM02_THD_IG
FCS_CMP2_EM02_THD_IN
FCS_CMP2_EM02_THD_V1
FCS_CMP2_EM02_THD_VAN
FCS_CMP2_EM02_THD_V2
FCS_CMP2_EM02_THD_VBN
FCS_CMP2_EM02_THD_V3
FCS_CMP2_EM02_THD_VCN
FCS_CMP2_EM02_THD_VLL
FCS_CMP2_EM02_THD_VLN
FCS_CMP2_EM02_EXP_KWH
FCS_CMP2_EM02_IMP_KWH
FCS_CMP2_EM02_EXP_KVARH
FCS_CMP2_EM02_IMP_KVARH
FCS_CMP2_EM02_EXP_KVAH
FCS_CMP2_EM02_IMP_KVAH
FCS_CMP2_EM02_VARH_DelpRec
FCS_CMP2_EM02_VARH_DelmRec
FCS_CMP2_EM02_VAH_DelpRec
FCS_CMP2_EM02_VAH_DelmRec
FCS_CMP2_EM02_Wh_DelpRec
FCS_CMP2_EM02_Wh_DelmRec
FCS_R1_CO2_PPM
FCS_R1_THS_HUM_%
FCS_R1_THS_TEMP_C

## areas
EM01 | EM02 | CO2 | Temprature
FCS_CMP1_EM01_V_L1_L2 | FCS_CMP2_EM02_V_L1_L2 | FCS_R1_CO2_PPM | FCS_R1_THS_HUM_%
FCS_CMP1_EM01_V_L2_L3 | FCS_CMP2_EM02_V_L2_L3 |  | FCS_R1_THS_TEMP_C
FCS_CMP1_EM01_V_L3_L1 | FCS_CMP2_EM02_V_L3_L1
FCS_CMP1_EM01_V_L_L | FCS_CMP2_EM02_V_L_L
FCS_CMP1_EM01_V_L1_N | FCS_CMP2_EM02_V_L1_N
FCS_CMP1_EM01_V_L2_N | FCS_CMP2_EM02_V_L2_N
FCS_CMP1_EM01_V_L3_N | FCS_CMP2_EM02_V_L3_N
FCS_CMP1_EM01_V_L_N | FCS_CMP2_EM02_V_L_N
FCS_CMP1_EM01_F | FCS_CMP2_EM02_F
FCS_CMP1_EM01_CURR_L1 | FCS_CMP2_EM02_CURR_L1
FCS_CMP1_EM01_CURR_L2 | FCS_CMP2_EM02_CURR_L2
FCS_CMP1_EM01_CURR_L3 | FCS_CMP2_EM02_CURR_L3
FCS_CMP1_EM01_CURR_N | FCS_CMP2_EM02_CURR_N
FCS_CMP1_EM01_CURR_Avg | FCS_CMP2_EM02_CURR_Avg
FCS_CMP1_EM01_P1_KW | FCS_CMP2_EM02_P1_KW
FCS_CMP1_EM01_P2_KW | FCS_CMP2_EM02_P2_KW
FCS_CMP1_EM01_P3_KW | FCS_CMP2_EM02_P3_KW
FCS_CMP1_EM01_TOTAL_KW | FCS_CMP2_EM02_TOTAL_KW
FCS_CMP1_EM01__KVAR_A | FCS_CMP2_EM02_KVAR_A
FCS_CMP1_EM01__KVAR_B | FCS_CMP2_EM02_KVAR_B
FCS_CMP1_EM01__KVAR_C | FCS_CMP2_EM02_KVAR_C
FCS_CMP1_EM01_TOTAL_KVAR | FCS_CMP2_EM02_TOTAL_KVAR
FCS_CMP1_EM01_KVA_A | FCS_CMP2_EM02_KVA_A
FCS_CMP1_EM01_KVA_B | FCS_CMP2_EM02_KVA_B
FCS_CMP1_EM01_KVA_C | FCS_CMP2_EM02_KVA_C
FCS_CMP1_EM01_TOTAL_KVA | FCS_CMP2_EM02_TOTAL_KVA
FCS_CMP1_EM01_PF_A | FCS_CMP2_EM02_PF_A
FCS_CMP1_EM01_PF_B | FCS_CMP2_EM02_PF_B
FCS_CMP1_EM01_PF_C | FCS_CMP2_EM02_PF_C
FCS_CMP1_EM01_TOTAL_PF | FCS_CMP2_EM02_TOTAL_PF
FCS_CMP1_EM01_THD_I1 | FCS_CMP2_EM02_THD_I1
FCS_CMP1_EM01_THD_I2 | FCS_CMP2_EM02_THD_I2
FCS_CMP1_EM01_THD_I3 | FCS_CMP2_EM02_THD_I3
FCS_CMP1_EM01_THD_IG | FCS_CMP2_EM02_THD_IG
FCS_CMP1_EM01_THD_IN | FCS_CMP2_EM02_THD_IN
FCS_CMP1_EM01_THD_V1 | FCS_CMP2_EM02_THD_V1
FCS_CMP1_EM01_THD_VAN | FCS_CMP2_EM02_THD_VAN
FCS_CMP1_EM01_THD_V2 | FCS_CMP2_EM02_THD_V2
FCS_CMP1_EM01_THD_VBN | FCS_CMP2_EM02_THD_VBN
FCS_CMP1_EM01_THD_V3 | FCS_CMP2_EM02_THD_V3
FCS_CMP1_EM01_THD_VCN | FCS_CMP2_EM02_THD_VCN
FCS_CMP1_EM01_THD_VLL | FCS_CMP2_EM02_THD_VLL
FCS_CMP1_EM01_THD_VLN | FCS_CMP2_EM02_THD_VLN
FCS_CMP1_EM01_EXP_KWH | FCS_CMP2_EM02_EXP_KWH
FCS_CMP1_EM01_IMP_KWH | FCS_CMP2_EM02_IMP_KWH
FCS_CMP1_EM01_EXP_KVARH | FCS_CMP2_EM02_EXP_KVARH
FCS_CMP1_EM01_IMP_KVARH | FCS_CMP2_EM02_IMP_KVARH
FCS_CMP1_EM01_EXP_KVAH | FCS_CMP2_EM02_EXP_KVAH
FCS_CMP1_EM01_IMP_KVAH | FCS_CMP2_EM02_IMP_KVAH
FCS_CMP1_EM01_VARH_DelpRec | FCS_CMP2_EM02_VARH_DelpRec
FCS_CMP1_EM01_VARH_DelmRec | FCS_CMP2_EM02_VARH_DelmRec
FCS_CMP1_EM01_VAH_DelpRec | FCS_CMP2_EM02_VAH_DelpRec
FCS_CMP1_EM01_Wh_DelpRec | FCS_CMP2_EM02_VAH_DelmRec
FCS_CMP1_EM01_Wh_DelmRec | FCS_CMP2_EM02_Wh_DelpRec
FCS_CMP2_EM02_Wh_DelmRec

## devices
Device1 | Device2
EM01 | CO2
EM02 | Temprature